## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Hypochlorite solution | 2 | 2 | 2 | Nos | Yes | Bottle
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Guidelines, protocols or tools of wound assessment | 1 | 1 | 1 | Nos | Yes | Bundle
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Autoclave | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Spill Kit | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Disposable cartridge and syringes | 5 | 5 | 5 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Cotton Rolls | 2 | 2 | 2 | Nos | Yes | Rolls
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Towels | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Alcohol swab | 2 | 2 | 2 | Nos | Yes | Box
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Fire extinguisher | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Physical restraints | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Tourniquet | 3 | 3 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Scoop | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Cot | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Stretcher | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Wheelchair | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Torch | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Ambu Bag With Mask Adult | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Cloth/tissue papers | 3 | 3 | 3 | Nos | Yes | Packet
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | CPR Manikin | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Crash cart trolley | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Sutures | 3 | 3 | 3 | Nos | Yes | Packet
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Negative Pressure Wound Therapy Device (NPWT) | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Wollen Blanket | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Pillow Cover | 4 | 4 | 4 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Pillow | 4 | 4 | 4 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Bed Sheet | 4 | 4 | 4 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Hospital Bed - Manual Fowler Bed (3 parts at least) | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Mackintosh | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | light | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Warmers | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Over-head heating panel | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Patient gown | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Weighing Machine | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Thermometer | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Pulseoximeter | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Stethoscope | 3 | 3 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | B.P. Monitoring Machine - Digital | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | B.P. Monitoring Machine - Manual | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Alcohol-based sanitizer | 3 | 3 | 3 | Nos | Yes | Bottle
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Liquid Soap | 2 | 2 | 2 | Nos | Yes | Bottle
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Hand Washing area with sink and hand washing instructions | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Sample consent form | 1 | 1 | 1 | Bundle | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Sample medication strips | 5 | 5 | 5 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Nursing manikin | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Over-bed table | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Dressing tray | 3 | 3 | 3 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Dressing trolley | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Different Colour Plastic Bags With Dustbins (Yellow) | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Different Colour Plastic Bags With Dustbins (Black) | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Different Colour Plastic Bags With Dustbins (Blue) | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Different Colour Plastic Bags With Dustbins (Red) | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Hair cap | 2 | 2 | 2 | Nos | Yes | Packet
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Shoe cover | 2 | 2 | 2 | Nos | Yes | Packet
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Face Mask | 2 | 2 | 2 | Nos | Yes | Packet
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Gloves (Surgical) | 2 | 2 | 2 | Each | Yes | packet of each size
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Gloves (Disposable) | 2 | 2 | 2 | Nos | Yes | Packet
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Gown - PPE | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Trauma shears | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Bucket or receptacle of water | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Elastic Bandages | 3 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Cotton pads | 3 | 2 | 2 | Nos | Yes | Packet
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Fiberglass | 3 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Plaster | 3 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Splints | 3 | 2 | 2 | Each | Yes | Different size
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Stockinette | 3 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Bandages of different size | 3 | 2 | 2 | Each | Yes | Packet of each size
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Dressing materials | 3 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Topical medications | 3 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q3004 | Dresser (Medical) | 3 | Cleaning materials like Dettol, Savlon, Betadine | 3 | 2 | 2 | Each | Yes | Each type