## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fiber Optic Test Source | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Black/White Board & Marker | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fiber Optic Power Meter | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Connector Crimper | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Safety Gear (Hand gloves, Eye protective glass) | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cable Jacket Stripper | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Splices | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cleaver | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cable Cutter | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fiber Optic Stripper | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | OTDR | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Tweezers | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fusion Splicer (Splicing machine) | 2 | 2 | 2 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Connectors | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cable Splitter | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Mechanical Splicer | 4 | 4 | 4 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Projection System with PC/Laptop | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fiber Optic Test Source | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Black/White Board & Marker | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fiber Optic Power Meter | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Connector Crimper | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Safety Gear (Hand gloves, Eye protective glass) | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cable Jacket Stripper | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Splices | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cleaver | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cable Cutter | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fiber Optic Stripper | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | OTDR | 1 | 1 | 1 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Tweezers | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Fusion Splicer (Splicing machine) | 2 | 2 | 2 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Connectors | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Cable Splitter | 5 | 4 | 3 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Mechanical Splicer | 4 | 4 | 4 | pieces | Yes
Telecom Sector Skill Council | TEL/Q6400 | Optical Fiber Splicer | 3 | Projection System with PC/Laptop | 1 | 1 | 1 | pieces | Yes