## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Air Conditioning Unit | 1 |  |  | pieces | Yes
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Black/White Board | 1 |  |  | pieces | Yes
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Projection System With Pc/Laptop | 1 |  |  | pieces | No
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Fire Extinguishers | 1 |  |  | pieces | Yes
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Battery Banks | 1 |  |  | pieces | Yes
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Power Distrubution Panel/Power Management Unit | 1 |  |  | pieces | Yes
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Earth Pits | 1 |  |  | pieces | Yes
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | DG set | 1 |  |  | pieces | Yes
Telecom Sector Skill Council | TEL/Q4100 | Tower Technician | 4 | Smps | 1 |  |  | pieces | Yes