## Sheet1
S.No. | Equipment Name | Minimum number of Equipment required (per batch of 30 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[6 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | A.C. Indoor Unit (For Practical classes) | 2 | Absolute numbers | Yes | On Share Basis | YES
2 | A.C. Outdoor Unit (For Practical classes) | 2 | Absolute numbers | Yes | On Share Basis | YES
3 | A.C. Jig (For Practical classes) | 1 | Absolute numbers | Yes | On Share Basis | YES
4 | Refrigerator Jig (For Practical classes) | 1 | Absolute numbers | Yes | On Share Basis | YES
5 | Refrigerator(For Practical classes) | 2 | Absolute numbers | Yes | On Share Basis | YES
6 | Floor Mat | 4 | Absolute numbers | Yes | On Share Basis | YES
7 | Helmet | 7 | Absolute numbers | Yes | On Share Basis | YES
8 | Pipe Bender | 2 | Absolute numbers | Yes | On Share Basis | YES
9 | Weighing Scale | 1 | Absolute numbers | Yes | On Share Basis | YES
10 | Butane Can | 6 | Absolute numbers | Yes | On Share Basis | YES
11 | R-600 Refrigerant can | 2 | Absolute numbers | Yes | On Share Basis | YES
12 | Tube Cutter | 4 | Absolute numbers | Yes | On Share Basis | YES
13 | Burner | 2 | Absolute numbers | Yes | On Share Basis | YES
14 | Damaged Compressors | 4 | Absolute numbers | Yes | On Share Basis | YES
15 | Deburring Tool | 4 | Absolute numbers | Yes | On Share Basis | YES
16 | Measuring Tape | 2 | Absolute numbers | Yes | On Share Basis | YES
17 | Spirit Level | 2 | Absolute numbers | Yes | On Share Basis | YES
18 | Piercing Valve | 2 | Absolute numbers | Yes | On Share Basis | YES
19 | Safety Goggles | 7 | Absolute numbers | Yes | On Share Basis | YES
20 | Marker Pen | 20 | Absolute numbers | Yes | On Share Basis | YES
21 | Brazing Flux | 1 Bottle | Absolute numbers | Yes | On Share Basis | YES
22 | Hand Gloves | 42 Pairs | Absolute numbers | Yes |  | YES
23 | Core Drill Bit | 2 | Absolute numbers | Yes | On Share Basis | YES
24 | Drill Bit | 10 | Absolute numbers | Yes | On Share Basis | YES
25 | Brazing Electrode | 1 Bunch | Absolute numbers | Yes | On Share Basis | YES
26 | Discharge Pipe | 2 | Absolute numbers | Yes | On Share Basis | YES
27 | Charging Manifold | 2 | Absolute numbers | Yes | On Share Basis | YES
28 | Charging Can Base | 3 | Absolute numbers | Yes | On Share Basis | YES
29 | Charging Can Base Pipe | 1 | Absolute numbers | Yes | On Share Basis | YES
30 | Spring Bender | 2 | Absolute numbers | Yes | On Share Basis | YES
31 | Power Tool Drill Machine | 2 | Absolute numbers | Yes | On Share Basis | YES
32 | Leak Detector | 1 | Absolute numbers | Yes | On Share Basis | YES
33 | AC Outdoor Unit Power Cord | 1 | Absolute numbers | Yes | On Share Basis | YES
34 | Gritty | 6 | Absolute numbers | Yes | On Share Basis | YES
35 | Spring Container | 1 Pack | Absolute numbers | Yes | On Share Basis | YES
36 | AC Remote & Manual | 2 | Absolute numbers | Yes | On Share Basis | YES
37 | AC Repair Kit | 2 | Absolute numbers | Yes | On Share Basis | YES
38 | HA Repair Kit | 1 | Absolute numbers | Yes | On Share Basis | YES
39 | HA Installation Kit | 1 | Absolute numbers | Yes | On Share Basis | YES
40 | Copper Pipe | 2 Packs | Absolute numbers | Yes | On Share Basis | YES
41 | Flaring Tool | 4 | Absolute numbers | Yes | On Share Basis | YES
42 | Core Drill | 1 | Absolute numbers | Yes | On Share Basis | YES
43 | Installation Mat | 3 | Absolute numbers | Yes | On Share Basis | YES
44 | Power Cord | 2 Bunch | Absolute numbers | Yes | On Share Basis | YES
45 | AC Insulation Pipe | 14 | Absolute numbers | Yes | On Share Basis | YES
46 | Vacuum Pump | 2 | Absolute numbers | Yes | On Share Basis | YES
47 | Pump Oil | 2 | Absolute numbers | Yes | On Share Basis | YES
48 | Water Jug | 4 | Absolute numbers | Yes | On Share Basis | YES
49 | Wall Mount Curved TV 55” | 2 | Absolute numbers | Yes | On Share Basis | YES
50 | White Board | 2 | Absolute numbers | Yes | On Share Basis | YES
51 | Dais | 2 | Absolute numbers | Yes | On Share Basis | YES
52 | Door Mat | 2 | Absolute numbers | Yes | On Share Basis | YES
53 | Inverter AC | 3 | Absolute numbers | Yes | On Share Basis | YES
54 | Normal AC | 3 | Absolute numbers | Yes | On Share Basis | YES
55 | Wall Mount Fan | 10 | Absolute numbers | Yes | On Share Basis | YES
56 | Chairs (Black) | 75 | Absolute numbers | Yes |  | YES
57 | A/C Indoor to Outdoor Connecting Pipe | 2 | Absolute numbers | Yes | On Share Basis | YES
58 | Wall Mount Display Boards | 10 | Absolute numbers | Yes | On Share Basis | YES
59 | Measuring Tape | 6 | Absolute numbers | Yes | On Share Basis | YES
60 | Screw Driver (+ & - ) | 16 | Absolute numbers | Yes | On Share Basis | YES
61 | Nose Plier | 6 | Absolute numbers | Yes | On Share Basis | YES
62 | Combination Plier | 6 | Absolute numbers | Yes | On Share Basis | YES
63 | Squeezer | 2 | Absolute numbers | Yes | On Share Basis | YES
64 | Core Drill Bit | 4 | Absolute numbers | Yes | On Share Basis | YES
65 | De-Burring Tool | 6 | Absolute numbers | Yes | On Share Basis | YES
66 | Core Drill Machine | 1 | Absolute numbers | Yes | On Share Basis | YES
67 | Double ended spanner set | 2 | Absolute numbers | Yes | On Share Basis | YES
68 | Adjustable Wrench | 8 | Absolute numbers | Yes | On Share Basis | YES
69 | Duster | 6 | Absolute numbers | Yes | On Share Basis | YES
70 | Sprit leveler | 5 | Absolute numbers | Yes | On Share Basis | YES
71 | Industrial Mirror | 2 | Absolute numbers | Yes | On Share Basis | YES
72 | Hammer | 6 | Absolute numbers | Yes | On Share Basis | YES
73 | Long Screw Driver | 4 | Absolute numbers | Yes | On Share Basis | YES
74 | Line Tester | 6 | Absolute numbers | Yes | On Share Basis | YES
75 | Brazing Torch | 4 | Absolute numbers | Yes | On Share Basis | YES
76 | Flaring Tools | 4 | Absolute numbers | Yes | On Share Basis | YES
77 | Nipper | 2 | Absolute numbers | Yes | On Share Basis | YES
78 | Charging Line | 12 | Absolute numbers | Yes | On Share Basis | YES
79 | Gauge Manifold | 4 | Absolute numbers | Yes | On Share Basis | YES
80 | Valve Key | 2 | Absolute numbers | Yes | On Share Basis | YES
81 | L Type Allen Key set | 2 | Absolute numbers | Yes | On Share Basis | YES
82 | Spring Bender | 2 | Absolute numbers | Yes | On Share Basis | YES
83 | Refrigerant Cylinder | 5 | Absolute numbers | Yes | On Share Basis | YES
84 | Paper Cutter | 3 | Absolute numbers | Yes | On Share Basis | YES
85 | Insulation Tape | 4 | Absolute numbers | Yes | On Share Basis | YES
86 | Digital Clamp Meter | 6 | Absolute numbers | Yes | On Share Basis | YES
87 | Plastic Fasteners & Gitti | 200 | Absolute numbers | Yes |  | YES
88 | Tube Cutter | 6 | Absolute numbers | Yes | On Share Basis | YES
89 | Swaging Tool | 8 | Absolute numbers | Yes | On Share Basis | YES
90 | Laser Temp. Meter | 2 | Absolute numbers | Yes | On Share Basis | YES
91 | Vacuum Pump | 2 | Absolute numbers | Yes | On Share Basis | YES
92 | Parrot plier | 2 | Absolute numbers | Yes | On Share Basis | YES
93 | Cleaning Brush | 4 | Absolute numbers | Yes | On Share Basis | YES
94 | Hack saw | 2 | Absolute numbers | Yes | On Share Basis | YES
95 | T handle screw driver set | 2 | Absolute numbers | Yes | On Share Basis | YES
96 | Flat File | 4 | Absolute numbers | Yes | On Share Basis | YES
97 | Round File | 2 | Absolute numbers | Yes | On Share Basis | YES
98 | Wire stripper cum cutter | 6 | Absolute numbers | Yes | On Share Basis | YES
99 | Copper tube Insulation | 20 | Absolute numbers | Yes | On Share Basis | YES
100 | ODU Mounting channels | 10 | Absolute numbers | Yes | On Share Basis | YES
101 | Cylinder Adopter | 6 | Absolute numbers | Yes | On Share Basis | YES
102 | Nitrogen Pressure Valve | 1 | Absolute numbers | Yes | On Share Basis | YES
103 | Nitrogen Cylinder | 1 | Absolute numbers | Yes | On Share Basis | YES
104 | Drier | 10 | Absolute numbers | Yes | On Share Basis | YES
105 | Mask | 10 | Absolute numbers | Yes | On Share Basis | YES
106 | Dust Bin | 2 | Absolute numbers | Yes | On Share Basis | YES
107 | Syringe | 1 | Absolute numbers | Yes | On Share Basis | YES
108 | HA Repair Bag | 2 | Absolute numbers | Yes | On Share Basis | YES
109 | AC Repair Kit | 2 | Absolute numbers | Yes | On Share Basis | YES
110 | DA 59-00293D EVAPORATOR (SINGLE DOOR) | 3 | Absolute numbers | Yes | On Share Basis | YES
111 | DC 26-01381D PULLY | 1 | Absolute numbers | Yes | On Share Basis | YES
112 | DC 31-001301A MOTOR | 1 | Absolute numbers | Yes | On Share Basis | YES
113 | DC 31-00134A MOTOR | 1 | Absolute numbers | Yes | On Share Basis | YES
114 | DC 31-00132A MOTOR | 1 | Absolute numbers | Yes | On Share Basis | YES
115 | INDOOR FAN MOTOR (AC) | 4 | Absolute numbers | Yes | On Share Basis | YES
116 | MAIN MOTOR (AC) | 2 | Absolute numbers | Yes | On Share Basis | YES
117 | OUT DOOR FAN MOTOR (RAC) | 1 | Absolute numbers | Yes | On Share Basis | YES
118 | DRAIN MOTOR | 3 | Absolute numbers | Yes | On Share Basis | YES
119 | DRAIN PUMP | 4 | Absolute numbers | Yes | On Share Basis | YES
120 | TV REMOTE | 4 | Absolute numbers | Yes | On Share Basis | YES
121 | F/L, W/M PCB | 2 | Absolute numbers | Yes | On Share Basis | YES
122 | W/M PCB | 2 | Absolute numbers | Yes | On Share Basis | YES
123 | F/L, W/M PCB | 4 | Absolute numbers | Yes | On Share Basis | YES
124 | TV PCB | 1 | Absolute numbers | Yes | On Share Basis | YES
125 | ASSY CLUTCH | 4 | Absolute numbers | Yes | On Share Basis | YES
126 | MOTOR INDUCTION WASHING | 4 | Absolute numbers | Yes | On Share Basis | YES
127 | MAIN PCB | 4 | Absolute numbers | Yes | On Share Basis | YES
128 | DISPLAY PCB | 3 | Absolute numbers | Yes | On Share Basis | YES
129 | INVERTRE PCB | 4 | Absolute numbers | Yes | On Share Basis | YES
130 | RELAY OLP | 1 | Absolute numbers | Yes | On Share Basis | YES
131 | THERMOSTAT | 4 | Absolute numbers | Yes | On Share Basis | YES
132 | INLET VALVE | 4 | Absolute numbers | Yes | On Share Basis | YES
133 | BELT | 4 | Absolute numbers | Yes | On Share Basis | YES
134 | CHECKER SWITCH | 2 | Absolute numbers | Yes | On Share Basis | YES
135 | PRESSUER SENSOR | 4 | Absolute numbers | Yes | On Share Basis | YES
136 | WASH TIMER | 4 | Absolute numbers | Yes | On Share Basis | YES
137 | PRESSURE SENSOR | 2 | Absolute numbers | Yes | On Share Basis | YES
138 | INLET VALVE | 4 | Absolute numbers | Yes | On Share Basis | YES
139 | PCB (SEMI-ELECTRONIC REF.) | 2 | Absolute numbers | Yes | On Share Basis | YES
140 | PCB (REF) | 1 | Absolute numbers | Yes | On Share Basis | YES
141 | PCB (RAC) | 1 | Absolute numbers | Yes | On Share Basis | YES
142 | PCB (RAC INVERTER) | 3 | Absolute numbers | Yes | On Share Basis | YES
143 | DISPLAY PCB (RAC) | 4 | Absolute numbers | Yes | On Share Basis | YES
144 | SMPS PCB (RAC) | 2 | Absolute numbers | Yes | On Share Basis | YES
145 | LOUVER MOTOR | 2 | Absolute numbers | Yes | On Share Basis | YES
146 | C-COIL | 1 | Absolute numbers | Yes | On Share Basis | YES
147 | MPP CAPACITOR | 2 | Absolute numbers | Yes | On Share Basis | YES
148 | TIME SPIN | 1 | Absolute numbers | Yes | On Share Basis | YES
149 | AC WORK TABLE | 2 | Absolute numbers | Yes | On Share Basis | YES
150 | HOME APPLIANCE WORK TABLE | 2 | Absolute numbers | Yes | On Share Basis | YES