## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Clamp Meter | 6 | 5 | 4 | Units | Yes | Hybrid Class room allowed
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Digital Multimeter | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Electrical Drill | 3 | 3 | 3 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Lead Solder | 6 | 5 | 4 | Boxes | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Soldering Iron | 6 | 5 | 4 | Units | Yes | Temperature Controlled
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Spanner Set | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | TDS Meter | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Water Pressure Gauge | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Water Purifier | 3 | 3 | 3 | Units | Yes | RO
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Water Purifier | 3 | 3 | 3 | Units | Yes | UV
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Water Purifier | 3 | 3 | 3 | Units | Yes | UF
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Screw Driver Set | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Soldering Flux | 6 | 5 | 4 | Boxes | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Adhesive | 5 | 4 | 3 | Boxes | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Automatic Washing Machine | 1 | 1 | 1 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Brazing Rod | 2 | 2 | 2 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Digital Thermometer | 2 | 2 | 2 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Double Door Refrigerator | 1 | 1 | 1 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Flaring Tool | 2 | 2 | 2 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Gas Cylinder | 2 | 2 | 2 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Hack Saw | 5 | 4 | 3 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Hammer | 5 | 4 | 3 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Line Tester | 10 | 10 | 10 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Plier | 5 | 5 | 5 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Pressure Gauge | 5 | 5 | 5 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Screw Driver Set | 5 | 5 | 5 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Semi-Automatic Washing Machine | 1 | 1 | 1 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Single Door Refrigerator | 1 | 1 | 1 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Split Air Conditioner | 2 | 2 | 2 | Units | Yes | 1.5 ton preferred
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Tube Bender | 5 | 5 | 5 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Tube Cutter | 5 | 5 | 5 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Vacuum Pump | 2 | 2 | 2 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Weighing Scale | 1 | 1 | 1 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Window Air Conditioner | 2 | 2 | 2 | Units | Yes | 1.5 ton preferred
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Capillary Guage | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Compound Guage | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Megger | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Measuring Tape (5 Mtrs) | 6 | 5 | 4 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Pressure Gauge | 1 | 1 | 1 | Units | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Safety Gloves | 6 | 5 | 4 | Sets | Yes | Standard
Electronics | ELE/Q3111 | Service Technician - Home Appliances | 4 | Safety Shoes | 6 | 5 | 4 | Pairs | Yes | Standard