## Sheet1
Note:-For Batch sizes other than 20/25/30 pro-rata base calculation may be done for the declared batch size.
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK | To be Filled by Applicant Organization(AO will fill up the availability and quantity course wise) |  |  | To be filled by DMT post verification(DMT will verify and write the availability and quantity for the center as a whole)
[11 empty] | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity as of <Current Date> | Remarks | Availability as of <Current Date> (To be filled as Yes or No) | Available Quantity for the center as a whole <Current Date> | Remarks
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Vaccutanour (Red/ Black/ Violet) | 1 | 1 | 1 | Bag | Yes | 1 box of each color
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Shoe Cover - Packet | 1 | 1 | 1 | packets | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Gown - PPE | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Gloves (Disposable) - Packet | 1 | 1 | 1 | packets | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Tooth Brush | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Hair Cap - Packet | 1 | 1 | 1 | packets | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Sponge Cloth | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Bath Soap | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Hair Oil | 1 | 1 | 1 | ml | Yes | 200 ml Bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Shampoo Bottle | 1 | 1 | 1 | Eqpt Nos | Yes | 200 ml bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Wet Wipes - Packet | 2 | 2 | 2 | packets | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Disposable Face Mask - Packet | 1 | 1 | 1 | Bundle | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Comb | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Isopropyl solution | 1 | 1 | 1 | ml | Yes | 500 ml bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Toothpaste | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Small Bath Towel | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Different Colur Plastic Bags With Dustbins (Black) | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Face Towel | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Different Colur Plastic Bags With Dustbins (Red) | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Different Colur Plastic Bags With Dustbins (Blue) | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Normal Saline Bottle | 1 | 1 | 1 | ml | Yes | 500 ml bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Micropore of varied size | 1 | 1 | 1 | Each Size | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Spatula | 5 | 3 | 3 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Hydrogen Peroxide Bottle | 1 | 1 | 1 | ml | Yes | 500 ml bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | CPR Manikin | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Betadine Solution Bottle | 2 | 2 | 2 | ml | Yes | 100 ml each bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Glass | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Kidney Tray of varied size | 2 | 2 | 2 | Each | Yes | each size
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steel Bowl | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | IV Stand | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Goggles (PPE) | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Spoon | 4 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Measuring Glass | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Measuring Tape | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Water Jug | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Suction Apparatus | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | B.P. Monitoring Machine | 3 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Thermometer | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Hot Water Bag | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Dressing Kit | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Ice Packs | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Puncture Proof Container | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Dressing Trolley | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Syringe of varied ml/ cc | 2 | 2 | 2 | Each | Yes | 2 syringe of each ml/ cc
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Folley Catheter of varied size | 2 | 2 | 2 | Each Size | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Rubber Sheet/Disposable under sheet | 2 | 2 | 2 | packets | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Suction Cathetar of varied size | 2 | 2 | 2 | Each Size | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Bulb Syringe | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Oxygen Mask | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Blood Sample Collection Vials (Red/Black/Voilet) | 1 | 1 | 1 | Box Each | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Stethoscope | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Call Bell | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Big Towel | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Ryle'S Tube of varied size | 2 | 2 | 2 | Each Size | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Bandage of various size | 5 | 5 | 5 | each size | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Draw Sheet | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Liquid Soap Bottle | 2 | 2 | 2 | ml | Yes | 500 ml bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Oxygen Cylinder B type with trolley | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Defibrillator | 1 | 1 | 1 | Eqpt Nos | No
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Bedside Locker | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Cardiac Table | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Mattress | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Bed Sheet | 6 | 6 | 6 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Pillow | 4 | 4 | 4 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Pillow Cover | 4 | 4 | 4 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Crutch | 2 | 1 | 1 | Pair | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Hospital Bed (Automatic) | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Stretcher with wheels | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Oxygen Cylinder Key | 2 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Hospital Bed - Manual | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Portable stretcher | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Back Rest | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Walker | 2 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Woolen Blanket | 3 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steel Basin (Medium) | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Air Mattress | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Sand Bag | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Weighing Machine | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Foot Rest | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steel Instrument Tray (Large) | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steel Basin (Small) | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steel Instrument Tray (Small) | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Artery Forcep | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Urinal | 3 | 3 | 3 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Wheel Chair | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steel Basin (Large) | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steel Instrument Tray (Medium) | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Dissecting Forcep | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Scissors | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Nail Cutter & Filer | 3 | 3 | 3 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Splint of varied size | 2 | 2 | 2 | Each | Yes | each size
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Cervical Collar (Medium) | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Dining Plate | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Spine Board | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Bed Pan | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Sample Collection Bottle | 5 | 3 | 3 | ml | Yes | 50 ml bottle
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Uro Bag | 3 | 3 | 3 | Bag | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Different Colur Plastic Bags With Dustbins (Yellow) | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Nursing full body Manikin male/female | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Screens for Privacy | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Cotton Absorbent | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Shaving Kit | 4 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Diaper Paediatric | 2 | 1 | 1 | Packet | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Hand Washing Sink | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Gauze Piece (4X4) | 5 | 5 | 5 | packets | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Feeding Bottles | 2 | 2 | 2 | Bottles | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Paladai | 4 | 4 | 4 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Sterilizer | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Bath Tub : Baby | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Baby Wrapper | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Spirometer | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Diaper (Adult) | 2 | 1 | 1 | packets | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Patient Dress Male | 1 | 1 | 1 | Dress | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Basic Sample Documents of Neonate | 1 | 1 | 1 | Each | Yes | each types
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Cardiac Monitor | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Adjustable Cane | 2 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | ECG Machine | 1 | 1 | 1 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Syringe Pump | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Spo2 Monitor Finger | 2 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Steam Inhaler | 4 | 2 | 2 | Eqpt Nos | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Ambu bag with Mask Paediatric | 1 | 1 | 1 | Piece | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Ambu bag with Mask (Adult) | 1 | 1 | 1 | Piece | Yes
Healthcare Sector Skill Council | HSS/Q5103 | General Duty Assistant-Advanced | 4 | Wall Clock | 1 | 1 | 1 | Eqpt Nos | Yes